## SOQ
CENTRAL INSTITUTE OF PLASTICS ENGINEERING AND TECHNOLOGY
NIT NO. CIPET: CSTS/BBSR/MODULAR KITCHEN /2018-19/14
Name of the work : SUPPLY & INSTALLATION OF MODULAR KITCHEN ARRANGEMENT.
Financial Bid
Name of the Bidder
Sl No. | Name of the Item | ITEM DESCRIPTION WITH BRAND & SPECIFICATION | Quantity | Unit | Price per unit | Amount
1 | STORAGE RACK | SIZE- 48”X21”X66” Top-16 SWG SS Legs-16 SWG SS Shelves-18SWG SS The Unit is to be mounted on bullet type adjustable feet. 4 shelves | 4 | Nos |  | 0
2 | STOCK POT | SIZE – 30”X30”X22” Top-16 SWG Stainless Steel(SS) Legs-16 SWG SS The Unit is to be mounted on bullet type adjustable feet. Structure:-Top Underneath by MS angle Burner-M-G 65 Burner with Drip Tray | 2 | Nos |  | 0
3 | CHAPPATI PLATE WITH PUFFER | SIZE- 60”X24”X34” Top-16 SWG Stainless Steel(SS) Legs-16 SWG SS The Unit is to be mounted on bullet type adjustable feet. Structure:-Top Underneath by MS angle | 2 | Nos |  | 0
4 | WORKING TABLE FOR CHAPPATI PLATE | SIZE- 48”X24”X34” Top-16 SWG SS Legs-16 SWG SS Shelves-18SWG SS The Unit is to be mounted on bullet type adjustable feet. | 2 | Nos |  | 0
5 | HOT BAIN MARIE | SIZE- 72”X27”X34” 1/1 CONTAINER 2 NO’S ½ CONTAINER 6 NO’S Material Stainless steel finishing matt Type steam operated Bain Marie | 1 | Nos |  | 0
6 | SERVING TABLE | SIZE- 48”X27”X34” Top-16 SWG SS Legs-16 SWG SS Shelves-18SWG SS The Unit is to be mounted on bullet type adjustable feet. | 1 | Nos |  | 0
7 | SINGLE BURNER RANGE | SIZE-30”X30”X34” Top-16 SWG Stainless Steel(SS) Legs-16 SWG SS The Unit is to be mounted on bullet type adjustable feet. Structure:-Top Underneath by MS angle Burner-M-G 65 Burner with Drip Tray | 1 | Nos |  | 0
8 | THREE BURNER RANGE | SIZE- 72”X24”X34” Top-16 SWG Stainless Steel(SS) Legs-16 SWG SS The Unit is to be mounted on bullet type adjustable feet. Structure:-Top Underneath by MS angle Burner-M-G 65 Burner with Drip Tray | 1 | Nos |  | 0
9 | STEAM BOILER | SIZE- 60”X108”X40” CSSB All Stainless Steel Steam Boilers are specifically designed for use where the purity of the heating fluid must be maintained. Typical applications include sterilizers and autoclaves in research, biological and pharmaceutical laboratories and humidification equipment for the electronics industry (solid state substrates). CSSB boilers utilize de-ionized, demineralized or distilled water to provide pure steam, free of minerals or undesirable chemical additives. Pure steam eliminates the possibility of carry over of contaminants into the process. Note — A water feed system supplying distilled, de-ionized or demineralized water is required on all CSSB boilers. (See Caution note in Optional Equipment Section.) | 1 | SET |  | 0
10 | DOUGH KNEADER | SIZE-36”X24”X24” CAPACITY- 20KG Constructed in painted steel. • Spiral mixer arm and bowl in stainless steel. • Single speed. • High capacity 25 liter rounded-bottom bowl for easier cleaning. • Power: 750 watts. | 1 | Nos |  | 0
11 | POTATO PILLER | SIZE-24”X24”X24” CAPACITY-10KG Complete unit - stainless steel cabinet & integral stainless steel peel trap • 0.75kW motor • Stainless steel peel hopper with bonded abrasive to complete hopper interior surface • Abrasive disc - fiberglass reinforced plastic with bonded abrasive • Cast aluminium discharge chute with quick-opening discharge hopper door • Water connection point | 1 | Nos |  | 0
12 | TILTING GRINDER | SIZE-24”X24”X24” CAPACITY-15KG Single phase Heavy duty Motor Full SS Body with rotating Black Stone | 1 | Nos |  | 0
13 | VEGETABLE CUTTING MACHINE | HEAVY DUTY MODEL cutting Chamber: 12 mm x 95 mm •Full Size: 25”(H) x 22”(L) x 115”(W) •Weight: 35Kgs •Motor: 0.50HP @ 1440 rpm •Stamping: 155 x 93 •Stamping Length: 90 •Winding: Copper | 1 | Nos |  | 0
14 | WORKING TABLE FOR VEGETABLE CUTTING MACHINE | SIZE- 36”X24”X34” Top-16 SWG SS Legs-16 SWG SS Shelves-18SWG SS The Unit is to be mounted on bullet type adjustable feet. | 1 | Nos |  | 0
15 | DISH RACK | SIZE- 36”X24”X66” Top-16 SWG SS Legs-16 SWG SS Shelves-18SWG SS The Unit is to be mounted on bullet type adjustable feet. 4 shelveS | 3 | Nos |  | 0
16 | POT RACK | SIZE- 36”X24”X50” Heavy Duty SS 1-1/2”x1-1/2” Square pipe frame Fabricated SS angle Verticals with Nylon Bullets 3 shelves | 1 | Nos |  | 0
17 | THREE SINK UNIT | SIZE- 72”X24”X34” Top-16 SWG SS Legs-18 SWG SS Shelves-18SWG SS The Unit is to be mounted on bullet type adjustable feet. | 1 | Nos |  | 0
18 | DIRTY DISH LANDING TABLE | SIZE- 60”X24”X34” Top-16 SWG SS Legs-16 SWG SS Shelves-18SWG SS The Unit is to be mounted on bullet type adjustable feet. | 1 | Nos |  | 0
19 | DIRTY DISH LANDING TROLLY | SIZE- 36”X24”X30” TOP-18 SWG WHEEL-4 PC WITH HANDLE | 2 | Nos |  | 0
20 | HOOD | 36 Rft 22 Gauge SS wall mounted cantilever type Hoods Including SS baffle type Washable grease filter | 36 | RFT |  | 0
21 | DUCTING | 1500 sqft approx 24 Gauge G.I. ducting including fabrication, erection and commissioning with offsets, elbow cowls, felt hungers and anchor fastners with G.I nut & Bolts | 1500 | Sqft |  | 0
22 | EXHAUST FAN | ALMONARD 18” | 5 | Nos |  | 0
23 | BLOWER | ALMONARD 18” | 1 | Nos |  | 0
24 | GAS BANK | The pipe shall be of MS seamless schedule 40 or Tata’s’ class ERW Pipe. The main Pipeline should be of ½” dial with respective ball valve. The pipeline should have seamless schedule 40 pipe fittings such as Tee, Elbow and other fittings up to ½” Dial and the pipe from ½” should be hydraulically bent. There should be two numbers of manifold(each with the specified number of cylinder adaptors) made of seamless schedule 40 pipes with required fittings like NRV,cylinder adaptors with flexible pipe of 2’ There should be an isolation ball valve in both the manifold to operate the manifold individually. There should be a main gas shut off valve inside and outside the gas bank to isolate the LPG supply in case of emergency. The main pipeline should run up to the kitchen area and from their it will be distributed to all the kitchen area and equipments with a 2nd stage regulator. There should be pressure gauge with a needle control valve installed inside the kitchen. The entire pipeline is should be clamped properly with MS clamps on the wall. Once the entire pipeline is completed the same needs to be pressure tested 2 manifolds of required cylinders each. | 1 | SET |  | 0
Total Amount (Without GST) | [5 empty] | 0
GST (%) | [5 empty] | 0
Total Amount (Including GST) | [5 empty] | 0
Any Other Charges
Grand Total | [5 empty] | 0
Note on F5: Please Provide Company/Firm Name