## FINAL ESTIMATE
CIPET : CSTS, RANCHI
PROCESSING - MACHINERIES ELECTRICAL REQUIREMENT OF EXT. SHED
DATE- 03.10.2020
SL. NO. | DESCRIPTION | SPECIFICATION | QNT. | MAKE | Quoted Pricce
1 | MCCB | 100 A, 415 V, 25 KA, 4-POLE | 4 NOS. | L&T/HAVELLS/ANY SIMILAR
2 | MCB MOUNTING DOUBLE DOOR BOX (Metal) | 100 A, 415 V, 25 KA, 4-POLE | 4 NOS. | L&T/HAVELLS/ANY SIMILAR
3 | MCCB SPREADER | 100 A, 415 V, 25 KA, 4-POLE | 4 SETS | L&T/HAVELLS/ANY SIMILAR
4 | MCB | 63 A, 415 V, 15 KA, 4-POLE | 1 NO. | L&T/HAVELLS/ANY SIMILAR
5 | MCB | 6 A, 240V, 15 KA, DP | 3 NOS. | L&T/HAVELLS/ANY SIMILAR
6 | MCB MOUNTING DOUBLE DOOR BOX (Metal) | 12-POLE | 1 NO. | L&T/HAVELLS/ANY SIMILAR
7 | MCB | 32 A, 415 V, 15 KA, 4-POLE | 6 NOS. | L&T/HAVELLS/ANY SIMILAR
8 | MCB MOUNTING DOUBLE DOOR BOX (Metal) | 8-POLE | 6 NOS. | L&T/HAVELLS/ANY SIMILAR
9 | MCB | 10 A, 240 V, 15 KA, DP | 7 NOS. | L&T/HAVELLS/ANY SIMILAR
10 | MCB | 16 A, 240 V, 15 KA, DP | 4 NOS. | L&T/HAVELLS/ANY SIMILAR
11 | MCB MOUNTING DOUBLE DOOR BOX (Metal) | 6-POLE | 1 NO. | L&T/HAVELLS/ANY SIMILAR
12 | MCB | 32 A, 240 V, 15 KA, DP | 1 NO. | L&T/HAVELLS/ANY SIMILAR
13 | MCB MOUNTING BOX (METAL) | 2-POLE | 2 NOS. | L&T/HAVELLS/ANY SIMILAR
14 | MODULAR SWITCH | 6 A, 240 V | 5 NOS. | LEGRAND/HAVELLS/ANY SIMILAR
15 | MODULAR SOCKET | 5/15 A, 240V | 7 NOS. | LEGRAND/HAVELLS/ANY SIMILAR
16 | MODULAR SWITCH | 16 A, 240 V | 7 NOS. | LEGRAND/HAVELLS/ANY SIMILAR
17 | MODULAR PVC BOX | 8-MDL | 1 NO. | LEGRAND/HAVELLS/ANY SIMILAR
18 | MODULAR COVER PLATE | 8-MDL | 1 NO. | LEGRAND/HAVELLS/ANY SIMILAR
19 | MODULAR PVC BOX | 6-MDL | 1 NO. | LEGRAND/HAVELLS/ANY SIMILAR
20 | MODULAR COVER PLATE | 6-MDL | 1 NO. | LEGRAND/HAVELLS/ANY SIMILAR
21 | LED FLOOD LIGHT | 50W, 250V | 11 NOS. | ORIENT/MESCAB/ PHLIPS/ANY SIMILAR
22 | COPPER WIRE | 1 SQ. MM., MULTISTRAND, 1.1 KV, 1 CORE | 3 COILS | HAVELLS
23 | COPPER WIRE | 1.5 SQ. MM., MULTISTRAND, 1.1 KV, 1 CORE | 2 COILS | HAVELLS
24 | COPPER WIRE | 10 SQ. MM., MULTISTRAND, 1.1KV, 1 CORE | 40 MTRS. | HAVELLS
25 | COPPER ARMOURED CABLE | 16 SQ. MM, 1.1 KV, 4-CORE, XLPE, MULTISTRAND | 50 MTRS. | HAVELLS/POLYCAB
26 | COPPER CABLE ARMOURED | 6 SQ. MM, 4-CORE, 1.1 KV, XLPE, MULTISTRAND | 110 MTRS. | HAVELLS/POLYCAB
27 | ALUMINIUM ARMOURED CABLE | 50 SQ. MM., 1.1 KV, 3.5 CORE, XLPE | 60 MTRS. | HAVELLS/POLYCAB
28 | ALUMINIUM ARMOURED CABLE | 95 SQ. MM., 1.1 KV, 3.5 CORE, XLPE | 45 MTRS. | HAVELLS/POLYCAB
29 | COPPER LUGS | 35 SQ. MM RING TYPE | 10 NOS. | DOWELLS/ANY SIMILAR
30 | COPPER LUGS | 25 SQ. MM RING TYPE | 10 NOS. | DOWELLS/ANY SIMILAR
31 | COPPER LUGS | 16 SQ. MM RING TYPE | 40 NOS. | DOWELLS/ANY SIMILAR
32 | COPPER LUGS | 16 SQ. MM PIN TYPE | 10 NOS. | DOWELLS/ANY SIMILAR
33 | COPPER LUGS | 6 SQ. MM RING TYPE | 80 NOS. | DOWELLS/ANY SIMILAR
34 | COPPER LUGS | 6 SQ. MM PIN TYPE | 80 NOS. | DOWELLS/ANY SIMILAR
35 | COPPER BUSBAR | 200 A, 415 V, TPN | 3 NOS. | L&T/HAVELLS/ANY SIMILAR
36 | COPPER BUSBAR | 100 A, 415 V, TPN | 1 NO. | L&T/HAVELLS/ANY SIMILAR
37 | 3-PIN TOP | 16 A, 240 V | 5 NOS. | ANCHOR/HAVELLS/ ANY SIMILAR
38 | PVC PIPE | 1 INCH | 50 NOS. | …..
39 | PVC CIRCULAR BOX | 1 INCH, 1-AWY | 10 NOS. | …..
40 | PVC CIRCULAR BOX | 1 INCH, 2-WAY | 15 NOS. | …..
41 | FLEXIBLE SPRIAL PIPE | 1/2 INCH | 4 PAKTS. | …..
42 | G.I WIRE | 20 NOS. | 5 KG. | …..
43 | ANCHOR BOLT | M8, 4 INCH | 12 NOS. | …..
44 | S.S SCREW | 19 MM, 8 NO. | 1 PKT. | …..