## price bid
CENTRAL INSTITUTE OF PLASTICS ENGINEERING & TECHNOLOGY
SUPPLY, INSTLLATION AND COMMISSIONING OF CUBICLES AND SERVER RACK AT CIPET AGARTALA
E-TENDER NOTICE: CIPET/AGT/CUB_SER RACK/01/2017-18 Date: 16-01-2018
Price Bid
Name of the Contractor
Item | Quantity | Rate | Amount
1. Modular Computer | 40 |  | 0
Workstation cubicles:
Modular computer workstation of size
2’6” width×2’depth×4’ height in cubicle form as shown in the figure enclosed herewith with post form finish of approved color. The thickness of the cubicle should be of 25mm (for wall),
18mm (top) and 12mm for the back side wall having postform finish with 0.6mm sunmica laminate. Due provision shall be made available for electrical wiring LAN connectivity and CPU stand for individual cubicle. Ply-board, Pasted Sun-mica, all other accessories related to Keyboard tray & the adhesive should be ISI Mark.
2. Electrical Installation: | 40 |  | 0
All electrical wiring from UPS to individual fitting of two power points to individual user with required gauge of wire. The power points include two modular 5/15 Amp sockets and two switches fitted in a molded case. A dual RJ-45 connector is to be provided in each Cubicle.Wiring of the above is to be enclosed in PVC Casing.
3. LAN Connectivity: | 40 |  | 0
Structured cabling with Cat 6 cable with required RJ45 connector and I/O box complete set and 1.5m Cat 6 patch cord.
4. 22 U Rack floor mounted Rack(Detail specification as mentioned in tender document) | 01
GST
Total |  |  | 0
Freight, loading & unloading charges etc.
In words:
Note- (i) The offered price should include the cost of cubicle along with electrical and LAN connectivity. Individual offered price for each work shall not be entertained.
(ii) Taxes (GST), Freight and or other taxes/ Charges, if any applicable must be explicitly mentioned in this price schedule. Any type of correction/ addition in price schedule shall not be permissible. The above price should be inclusive of all. No other cost will be admissible under any circumstances.
Signature of the Vendor with seal